COP HOA

VOLUNTARY SPRINKLER REPAIRS

- 12627 W Castle Rock/Risers 4/Bubblers 4/Nov. 2017

- 12714 Omega Dr/Riser 1/Nov. 2017

- 12531 Castle Rock Dr/Riser 1/Bubblers/2

- 12718 Omega Dr/Bubblers 9/Oct. 2017

- 12715 Castle Rock Dr/Bubblers 2/August 2017

- 12631 Castle Rock Dr/Riser 1/Nov. 2017

- 12534 Prospect/Bubbler 1/June 2017

- 12522 Prospect/Bubbler 1/June 2017

- 12527 Castle Rock Dr/Bubblers 2/June 2017

- 12603 Castle Rock Dr/Bubbler 1/Nov. 2017

- 12623 Castle Rock Dr/Bubbler 1/June 2017

- 12724 Omega Dr/Bubbler 1/Oct. 2017

- 12703 Castle Rock Dr/Risers 3/Nov. 2017

- 12707 Castle Rock Dr/Riser 1/Oct. 2017

- NW Easement/Bubblers 3/Nov. 2017

- SE Easement/Bubblers 2/Nov. 2017

- 12503 Castle Rock Dr/Bubbler 1/Nov. 2017

- 12622 Prospect/Bubblers/Nov. 2017

- 12519 Castle Rock Dr/Adjust Riser/Nov.2017

- 12721 Castle Rock Dr/Clean riser filter and adjust/Nov.2017

- 12729 Castle Rock Dr/Cap leaking bubbler/Nov.2017

- 12519 Castle Rock Dr/Replace riser, nipple and adjust/Nov.2017

- 12503 Castle Rock Dr/Replace nipple and bubbler/Nov.2017

- 12511 Castle Rock Dr/Cap bubblers in back/Dec. 2017

- 12706 Omega/Replace and reset riser/Dec. 2017

- 12618 Prospect/Replace and cap bubblers/Dec. 2017

- 12614 Prospect/Replace extended nipple and bubbler/Dec. 2017

- 12519 Castle Rock Dr/Cap bubbler/replace 2 risers/Jan. 2018

- 12523 Castle Rock Dr/Repair riser/Jan. 2018

- 12627 Castle Rock Dr/Replace riser/Jan.2018

- 12531 Castle Rock Dr/Cap 1 bubbler/Jan.2018

- 12603 Castle Rock Dr/Replace 1 bubbler/Jan. 2018

- 12510 Prospect/Cap 1 bubbler/Jan.2018

- 12527 Castle Rock Dr/1 Bubbler/Jan. 18

- 12531 Castle Rock Dr/1 Bubbler/Jan. 18

- 12707 Castle Rock Dr/Riser/Jan. 18

- 2707 Castle Rock Dr/Riser/Jan.18

- 12502 Prospect/Install new bubbler caps/Jan.18

- 12631 Castle Rock Dr/1- 4” riser/Mar.18

- 12603 Castle Rock Dr/ 1 bubbler/Mar.18

- 12507 Castle Rock Dr/2-4” Risers/Mar.18

- 12703 Castle Rock Dr/1 Bubbler/Mar.18

- 12631 Castle Rock Dr/Bubbler/Mar.18

- 12703 Castle Rock Dr/Risers (2), Bubbler/Apr.18

- 12606 Prospect/Bubbler/Apr.18

- 12735 Castle Rock Dr/Cut down half of tree covering the gate/Apr.18

- 12507 Castle Rock Dr/Adjust risers/Apr.18

- 12519 Castle Rock Dr/Adjust risers/Apr.18

- 12627 Castle Rock Dr/Fix one bubbler/Apr.18

- 12527 Castle Rock Dr/Fix one bubbler, adjust sprinkler spray/Apr.18

- 12534 Prospect/Fix one bubbler/Apr.18

- 12627 Castle Rock Dr/Fix 2 sprinklers/Apr.18

- 12724 Omega/Fix sprinkler/Apr.18

- 12702 Omega/Multiple repairs to sprinklers and bubblers/Apr.18

- 12618 Prospect/Adjust and repair multiple bubblers/Apr.18

- 12614 Prospect/Bubbler/May 18

- 12702 Omega/Bubblers and sprinkler/May 18

2

- 12735 Castle Rock Dr/Bubbler/May 18

- 12631 Castle Rock Dr/Adjust the bubblers/May 18

- 12527 Castle Rock Dr/Cap a broken bubbler/May 18

- 12523 Castle Rock Dr/Replace a broken bubbler stem/May 18

- 12714 Omega/Adjust bubblers in courtyard/May 18

- 12606 Prospect/Replace bubbler/May 18

- 12503 Castle Rock Dr/Adjust sprinkler/May 18

- 12724 Omega/Adjust sprinklers and cap bubblers/May 18

- 12511 Castle Rock Dr/ Adjust and cap bubblers and sprinklers/May 18

- 12515 Castle Rock Dr/Adjust bubblers/May 18

- 12710 Omega/Replace 4 nipples/May 18 JK

- 12503 Castle Rock Dr/3 nipples/May 18 JK

- 12515 Castle Rock Dr/2 nipples/May 18 JK

- 12715 Castle Rock Dr/1 nipple/May 18 JK

- 12729 Castle Rock Dr/1 nipple/June 18 JK

- 12503 Castle Rock Dr/Adjust sprinklers/June 18 JK,TS

- 12619 Castle Rock Dr/Adjust Sprinklers/June 18 JK, TS

- 12627 Castle Rock Dr/Install PVC line and sprinkler/June 18 RH

- 12631 Castle Rock Dr/Install new sprinkler head/June 18 TS

- 12603 Castle Rock Dr/ Repair 1 bubbler/June 18 TS

- 12710 Omega/Replaced 4 sprinklers, added 3 longer risers/June 18 JK

- 12714 Omega/Replaced 1 sprinkler, replaced 1 split riser/June 18 JK

- 12503 Castle Rock Dr/replaced 1 bubbler head/June 18 JK

- 12619 Castle Rock Dr/replaced 2 sprinklers and 1 riser/June 18/JK

- 12706 Omega/replaced 5 sprinklers/replaced 3 risers/June 18/JK

- 12710 Omega/replaced 5 sprinklers/replaced 3 risers/June 18/JK

- 12506 Prospect/replaced bubbler riser/July 18/JK

- 12510 Prospect/fixed 2 bubblers/replaced 1 sprinkler head/July 18/JK

- 12502 Prospect/fixed 4 bubblers/July 18/JK

- 12627 Castle Rock Dr/Capped 2 bubblers/installed 1 new bubbler head/Aug 18/RH

- 12721 Castle Rock Dr/Repaired a broken PCV line/Repaired 4 sprinklers/Aug 18/JK, JN

- 12618 Prospect/Replaced broken bubbler/Aug 18/JK

- 12627 Castle Rock Dr/Replaced 2 sprinkler heads/Aug 18/RH

- 12703 Castle Rock Dr/Fixed 4 sprinklers/1 bubbler/Aug 18/TS,JK

- 12707 Castle Rock Dr/Fixed 2 bubblers/Aug 18/JK, TS

- 12627 Castle Rock Dr/Fixed 1 sprinkler head/Aug 18/RH

- 12502 Prospect/Turned off main water supply to stop zone/Aug 18/RH ,JN

- 12721 Castle Rock Dr/2 risers/Aug 18/JK, TS

- 12619 Castle Rock Dr/sprinkler/Aug 18/JK, TS

- 12729 Castle Rock Dr/sprinkler/Aug 18/ JK, TS

- 12703 Castle Rock Dr/1 sprinkler/Aug 18/JK, TS

- 12603 Castle Rock Dr/2 sprinklers/Aug 18/JK, TS

- 12707 Castle Rock Dr/1 bubbler/Aug 18/JK

- 12703 Castle Rock Dr/3 sprinklers/Aug 18/JK

- 12711 Castle Rock Dr/2 sprinklers/Aug 18/JK

- Two referrals to Ray Pena for other more complicated repairs/Aug 18/JK

- 12602 Castle Rock Dr/2 bubbler risers/Aug 18

- 12531 Castle Rock Dr/1 broken sprinkler body/Aug 18

- 12619 Castle Rock Dr/1 cracked bubbler riser/Aug 18

- 12602 Prospect/1 broken sprinkler body/Aug 18

- 12611 Castle Rock Dr/1 cracked bubbler riser/Aug 18

- 12623 Castle Rock Dr/1 cracked bubbler riser/Aug 18

- 12730 Omega/ 1 cracked bubbler riser/Aug 18

- 12724 Omega/1 cracked bubbler riser/Aug 18

- 12738 Omega/capped a broken hose line/Aug 18

- 12738 Omega/turned down water flow on 5 bubblers/Aug 18

- 12738 Omega/cracked bubbler riser/Aug 18

- 12514 Prospect/cracked bubbler riser/Sept 18

- 12534 Prospect/cracked bubbler riser/Sept 18

- 12538 Prospect/cracked bubbler riser/replaced bubbler head/Sept 18

- 12711 Castle Rock Dr/replaced 2 sprinkler heads/Sept 18

- 12718 Omega/replaced 3 cracked bubbler risers/Sept 18

3

- 12724 Omega/replaced 4 cracked bubbler risers/Sept 18

- 12531 Castle Rock Dr/replaced split bubbler riser/Sept 18

- 12603 Castle Rock Dr/replaced leaking sprinkler/Sept 18

- Maintenance call to Ray Pena on 12711 zone box leaking/Sept 18

- 12735 Castle Rock Dr/replaced cracked riser/Sept 18

- 12522 Prospect/replaced 3 cracked risers/Sept 18

- 12702 Omega/replaced 2 sprinkler risers/Sept 18

- 12507 Castle Rock/zone 4 will not shut off/referred to Ray Pena for repair/Sept 18

- 12730 Omega/replaced 2 bubbler risers/Sept 18

- 12738 Omega/replaced 5 bubbler risers/replaced 3 sprinklers/replaced 2 bubbler heads/Sept 18

- 12710 Omega/replaced 2 bubbler risers/Sept 18

- 12518 Prospect/replaced 1 bubbler riser/Sept 18

- 12516 Prospect/replaced 1 bubbler riser/Sept 18

- 12715 Castle Rock/replaced 1 bubbler riser/Sept 18

- 12614 Prospect/Adjusted 3 sprinkler heads/Sept. 18

- 12721 Castle Rock/replaced 1 sprinkler/Sept. 18

- 12534 Prospect/replaced 1 sprinkler/Sept. 18

- 12527 Castle Rock/replaced 1 bubbler riser/Sept. 18

- 12526 Prospect/replaced 1 bubbler riser/Sept. 18

- 12702 Prospect/replaced 1 bubbler riser/Sept. 18

- 12706 Prospect/replaced 1 bubbler riser/Sept. 18

- 12711 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18

- 12715 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18

- 12721 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18

- 12503 Castle Rock/replaced bubbler riser/Sept. 18

- 12627 Castle Rock/repaired 1” sprinkler line/Sept. 18

- 12703 Castle Rock/repaired cracked riser on a sprinkler/Oct. 18

- 12538 Prospect/Replaced a bubbler riser/Oct. 18

- 12510 Prospect/Replaced 1 bubbler riser/Oct. 18

- 12519 Castle Rock/replaced 1 sprinkler/Oct. 18

- 12531 Castle Rock/replaced 3 sprinklers behind house/Oct. 18

- 12514 Prospect/replaced 1 bubbler riser/Oct. 18

- 12502 Prospect/replaced 2 bubbler risers/Oct. 18

- 12530 Prospect/replaced 1 new sprinkler/repaired 2 sprinklers/Oct. 18

- 12531 Castle Rock/replaced 1 new sprinkler/Oct. 18

- 12718 Omega/replaced 3 new sprinklers/Nov. 18

- 12630 Prospect/replaced 2 new sprinklers/Nov. 18

- 12627 Castle Rock/replaced 1 new sprinkler/adjusted another sprinkler/Nov. 18

- 12715 Castle Rock/replaced 3 sprinklers/Nov. 18

- 12714 Omega/replaced 2 sprinklers/Nov.18

- 12711 Castle Rock/repaired 2 sprinkler, 1 riser/Nov. 18

- 12538 Prospect/repaired and adjusted 4 bubblers/2 sprinklers/Nov. 18

- 12618 Prospect/adjusted 1 bubbler, adjusted 2 sprinklers/Nov. 18

- 12507 Castle Rock/replaced 2 broken risers/adjusted 5 bubblers down/Nov. 18

- 12614 Prospect/replaced 1 broken riser/Nov. 18

- 12606 Prospect/replaced 1 sprinkler/Nov. 18

- 12610 Prospect/replaced cracked bubbler/Dec. 18

- 12627 Castle Rock/replace riser and bubbler head/Mar. 19

- 12718 Omega/replace cracked riser and bubbler/April 19